| CHUKA |  | UNIVERSITY |
| --- | --- | --- |

UNIVERSITY EXAMINATIONS

EXAMINATION FOR THE AWARD OF DEGREE OF BACHELOR OF PUBLIC HEALTH

PUHE 357: WATER SUPPLY AND QUALITY CONTROL

STREAMS: PUHE (Y3S2)					    		     TIME: 2 HOURS

DAY/DATE:  TUESDAY 09/04/2024				         11.30 A.M. – 1.30 P.M.

INSTRUCTIONS

- Do not write anything on the question paper.

- Mobile phones and any other reference materials are NOT allowed in the examination room.

- The paper has three sections. Answer ALL questions in Sections I, II and III.

- All your answers for Section I (MCQs) should be on one page.

- Number ALL your answers and indicate the order of appearance in the space provided in the cover page of the examination answer booklet.

- Write your answers legibly and use your time wisely

SECTION 1: MULTIPLE CHOICE QUESTIONS [10 MARKS]

1. A water sample should be transported in a cooled covered container at

- 0 – 40C

- 2 – 40C

- 0 – 80C

- 2 – 40C

2. The “blue baby” syndrome in infants can be as a result of drinking water contaminated with

- Nitrites

- Calcium

- Phosphates

- Fluorides

3. Heavy metals usually have an atomic density over

- 5g/cm3

- 10g/cm3

- 15g/cm3

- 20g/cm3

4. Inorganic matter or compounds in water are characterized of the following, EXCEPT

- They are carbon-free

- They are derived from living matter

- They are easily dissolved in water

- They are of mineral origin

5. Which of the following water pollution parameters is the ODD one out

- Temperature

- Electrical conductivity

- Fluorides

- Taste

6. In measurement of trace elements in water, ppm is identical with

- g/L

- mg/ml

- g/ml

- mg/L

7. Hardness represents the total concentration of calcium and magnesium ions, usually reported as

- Calcium carbonate.

- Magnesium carbonate.

- Calcium and Magnesium carbonate.

- None of the above

8. The following are intake technologies for ground water, EXCEPT

- Springwater collection

- Protected side intake

- Drilled wells

- Subsurface harvesting systems

In question 9 and 10, indicate whether the statement is TRUE or FALSE.

9. The colour of water usually has direct impact on human health [True/False]

10. Rapidly moving water contain more dissolved oxygen than stagnant water [True/False]

SECTION II: SHORT ANSWER QUESTIONS [40 MARKS]

1. Define the following terms

- Safe water 									[2 marks]

- Turbidity 									[2 marks]

2. Explain the three (3) main variables considered in the design and measurement of the Biochemical Oxygen Demand (BOD) for water quality assessment 			[6 marks]

3. State five (5) components of a Springwater collection system 			[5 marks]

4. The total amount of water in the universe remains essentially constant, albeit its changing distribution among the various processes. Explain the hydrologic cycle which accounts for the distribution of water in the universe 							[5 marks]

5. Care should be taken during collection of a water sample to ensure there is no accidental contamination of the sample. Explain the procedure that should be followed to obtain a representative and safe sample of water from a tap.					[10 marks]

6. Rock catchment is one of the most important intake technologies for rainwater. Explain the layout, and the steps in constructing a rainwater rock catchment.			[10 marks]

SECTION III: LONG ANSWER QUESTIONS [20 MARKS]

1. Consumption of contaminated water is a widespread public health concern associated with a huge burden of preventable endemic diseases, with frequent outbreaks especially in the developing countries. Consequently, there has been concerted efforts from all countries across the globe to promote water safety, particularly through initiatives to treat water at both the household and community levels. Discuss the concept and application of ten (10) key methods that are commonly used to treat water at the household level.						[20 marks]

……………………………………………………………………………………………………..